## Server Room
SERVER ROOM
[7 empty] | Cable's Extended percentage | 10%
Room Measurements:
| Length : |  |  |  | 35m
| Width: |  |  |  | 20m
Cable Color | Used For | Cable Type | Length(m)
Yellow | Servers to Switch | Cat 6 | 6.6
Blue | Router 1 to MLS-1&2 | Cat 6 | 4.4
Red | Router 2 to MLS-1&2 | Cat 6 | 4.4
Grey | MLS to MLS | Cat 6 | 4.4
Green | Switch to Cams | Cat 6 | 60.5
Cable Startpoint | Cable Endpoint | Cable Tag: | Cable Type | Length of the cable(m) | 10% of the Cable | Total Cable
Central Server - F0 | MLS1 -F0/7 | CS(G00)-ITSw-F01 | Cat 6 | 2 | 0.2 | 2.2
Central Server - F1 | MLS2 -F0/7 | CS(G00)-ITSw-F02 | Cat 6 | 2 | 0.2 | 2.2
Back-Up Central Server - F0 | MLS1 -F0/8 | BCS(G00)-ITSw-F02 | Cat 6 | 2 | 0.2 | 2.2
Back-Up Central Server - F1 | MLS2 -F0/8 | BCS(G00)-ITSw-F03 | Cat 7 | 2 | 0.2 | 2.2
Main_Router - F0/0 | MLS 1 - G0/1 | RT1(G00)-MLS1-G10 | Cat 6 | 2 | 0.2 | 2.2
Main_Router - F 0/1 | MLS 2 - G0/1 | RT1(G01)-MLS2-G10 | Cat 6 | 2 | 0.2 | 2.2
Back-Up_Router - F0/1 | MLS 1 - G0/2 | RT2(G00)-MLS1-G11 | Cat 6 | 2 | 0.2 | 2.2
Back-Up_Router - F0/0 | MLS 2 - G0/2 | RT2(G01)-MLS2-G11 | Cat 6 | 2 | 0.2 | 2.2
MLS 1 - F0/9 | MLS 2 - F0/9 | MLS1(G09)-MLS2-G09 | Cat 6 | 2 | 0.2 | 2.2
MLS 1 - F0/10 | MLS 2 - F0/10 | MLS1(G010)-MLS2-G010 | Cat 6 | 2 | 0.2 | 2.2
MLS 1 - F0/11 | MLS 2 - F0/11 | MLS1(G011)-MLS2-G011 | Cat 6 | 2 | 0.2 | 2.2
MLS 1 - F0/12 | MLS 2 - F0/12 | MLS1(G012)-MLS2-G012 | Cat 6 | 2 | 0.2 | 2.2
IT Suppot_Sw - Fa 0/1 | Camera_1 - Fa0/0 | ITSw(F01)-CAM-01 | Cat 6 | 35 | 3.5 | 38.5
IT Suppot_Sw - Fa 0/2 | Camera_2 - Fa0/0 | ITSw(F02)-CAM-02 | Cat 6 | 20 | 2 | 22
IT Suppot_Sw - Fa 0/3 | Biometric Scanner_1 - Fa0/0 | ITSw(F04)-BS-01 | Cat 6 | 20 | 2 | 22
[5 empty] | Total: | 108.9

## IT Suppot Room
IT SUPPORT ROOM
Room Measurements:
| Length : |  |  | 60m |  |  | Cable's Extended percentage | 10%
| Width: |  |  | 15m
Cable Color | Used For | Cable Type | Length(m)
Blue | IT Suppot_Sw to MLS-1&2 | Cat 6 | 71.5
Red | IT Suppot_Sw to Monitors/PC's | Cat 6 | 165
Grey | IT Suppot_Sw to IP Phone | Cat 6 | 49.5
Yellow | IT Suppot_Sw to Biometric Scanner | Cat 6 | 93.5
Green | IT Suppot_Sw to Cams | Cat 6 | 171.6
Cable Startpoint | Cable Endpoint | Cable Tag: | Cable Type | Length of the cable(m) | 10% of the Cable | Total Cable
IT Suppot_Sw- G0/1 | MLS 1 - G0/5 | IT(Sw1)(G01)-MLS1-G05 | Cat 6 | 35 | 3.5 | 38.5
IT Suppot_Sw- G0/2 | MLS 2 - G0/5 | IT(Sw1)G02)-MLS2-G05 | Cat 6 | 30 | 3 | 33
IT Suppot_Sw- Fa0/4 | PC(A) - Fa0/0 | IT(Sw1)(F04)-PC-01 | Cat 6 | 30 | 3 | 33
IT Suppot_Sw- Fa0/5 | PC(B) - Fa0/0 | IT(Sw1)(F05)-PC-02 | Cat 6 | 35 | 3.5 | 38.5
IT Suppot_Sw- Fa0/6 | PC(C) - Fa0/0 | IT(Sw1)(F06)-PC-03 | Cat 6 | 40 | 4 | 44
IT Suppot_Sw- Fa0/7 | PC(D) - Fa0/0 | IT(Sw1)(F07)-PC-04 | Cat 6 | 45 | 4.5 | 49.5
IT Suppot_Sw- Fa0/8 | Camera_1 - Fa0/0 | IT(Sw1)(F08)-CAM-01 | Cat 6 | 38 | 3.8 | 41.8
IT Suppot_Sw- Fa0/9 | Camera_2 - Fa0/0 | IT(Sw1)(F09)-CAM-02 | Cat 6 | 38 | 3.8 | 41.8
IT Suppot_Sw- Fa0/10 | Camera_3 - Fa0/0 | IT(Sw1)(F10)-CAM-03 | Cat 6 | 75 | 7.5 | 82.5
IT Suppot_Sw- Fa0/11 | Camera_4 - Fa0/0 | IT(Sw1)(F11)-CAM-04 | Cat 6 | 5 | 0.5 | 5.5
IT Suppot_Sw- Fa0/12 | IP Phone - Fa0/0 | IT(Sw1)(F12)-IP-01 | Cat 6 | 45 | 4.5 | 49.5
IT Suppot_Sw- Fa0/13 | Biometric Scanner_2 - Fa0/0 | IT(Sw1)(F13)-BS-02 | Cat 6 | 10 | 1 | 11
IT Suppot_Sw- Fa0/14 | Biometric Scanner_3 - Fa0/0 | IT(Sw1)(F14)-BS-03 | Cat 6 | 75 | 7.5 | 82.5
[5 empty] | Total: | 551.1

## Cashier Room
CASHIER ROOM
Room Measurements:
| Length : |  |  | 60m |  |  | Cable's Extended percentage | 10%
| Width: |  |  | 15m
Cable Color | Used For | Cable Type | Length(m)
Blue | Cashiers_Sw to MLS-1&2 | Cat 6 | 121
Red | Cashiers_Sw to PC's | Cat 6 | 236.5
Grey | Cashiers_Sw to IP Phone | Cat 6 | 16.5
Yellow | Cashiers_Sw to Biometric Scanner | Cat 6 | 22
Green | Cashiers_Sw to Cams | Cat 6 | 82.5
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Type | Length of the cable(m) | 10% of the Cable | Total Cable
Cashiers_Sw - G0/1 | MLS 1 - F0/2 | CaSW(G01)-MLS1-G02 | Cat 6 | 20 | 2 | 22
Cashiers_Sw - G0/2 | MLS 2 - F0/2 | CaSW(G02)-MLS2-G02 | Cat 6 | 90 | 9 | 99
Cashiers_Sw - Fa0/1 | PC(A) - Fa0/0 | CaSW(F01)-PC-A | Cat 6 | 65 | 6.5 | 71.5
Cashiers_Sw - Fa0/2 | PC(B) - Fa0/0 | CaSW(F02)-PC-B | Cat 6 | 55 | 5.5 | 60.5
Cashiers_Sw - Fa0/3 | PC(C) - Fa0/0 | CaSW(F03)-PC-C | Cat 6 | 50 | 5 | 55
Cashiers_Sw - Fa0/4 | PC(D) - Fa0/0 | CaSW(F04)-PC-D | Cat 6 | 45 | 4.5 | 49.5
Cashiers_Sw - Fa0/5 | Camera_6 - Fa0/0 | CaSW(F05)-CAM-06 | Cat 6 | 5 | 0.5 | 5.5
Cashiers_Sw - Fa0/6 | Camera_7 - Fa0/0 | CaSW(F05)-CAM-07 | Cat 6 | 70 | 7 | 77
Cashiers_Sw - Fa0/7 | IP Phone - Fa0/0 | CaSW(F07)-IP-02 | Cat 6 | 15 | 1.5 | 16.5
Cashiers_Sw - Fa0/8 | Biometric Scanner_4 - Fa0/0 | CaSW(F08)-BS-04 | Cat 6 | 20 | 2 | 22
[5 empty] | Total: | 478.5

## Casino Floor
CASINO FLOOR
[7 empty] | Cable's Extended percentage | 10%
Room Measurements:
| Length : |  |  |  | 150m
| Width: |  |  |  | 120m
Cable Color | Used For | Cable Type | Length(m)
Blue | Shops_Sw to MLS-1&2 | Cat 6 | 192.5
Red | Shops_Sw to Kiosks | Cat 6 | 209
Grey | Shops_Sw to AccessPoint | Cat 6 | 16.5
Yellow | Shops_Sw to Biometric Scanner | Cat 6 | 88
Green | Shops_Sw to Cams | Cat 6 | 910.8
Cable Startpoint | Cable Endpoint | Cable Tag: | Cable Type | Length of the cable(m) | 10%of the Cable | Total Cable
Shops_Sw - G0/1 | MLS 1 - G0/7 | ShSW(G01)-MLS1-G07 | Cat 6 | 85 | 8.5 | 93.5
Shops_Sw - G0/2 | MLS 2 - G0/7 | ShSW(G02)-MLS1-G07 | Cat 6 | 90 | 9 | 99
Shops_Sw - F0/1 | Kiosk 1- Fa 0/0 | ShSW(F01)-KIO-01 | Cat 6 | 70 | 7 | 77
Shops_Sw - F0/2 | Kiosk 2- Fa 0/0 | ShSW(F02)-KIO-02 | Cat 6 | 50 | 5 | 55
Shops_Sw - F0/3 | Kiosk 3- Fa 0/0 | ShSW(F03)-KIO-03 | Cat 6 | 70 | 7 | 77
Shops_Sw - F0/4 | Camera_1 - Fa0/0 | ShSW(F04)-CAM-01 | Cat 6 | 80 | 8 | 88
Shops_Sw - F0/5 | Camera_2 - Fa0/0 | ShSW(F05)-CAM-02 | Cat 6 | 80 | 8 | 88
Shops_Sw - F0/6 | Camera_3 - Fa0/0 | ShSW(F06)-CAM-03 | Cat 6 | 45 | 4.5 | 49.5
Shops_Sw - F0/7 | Camera_4 - Fa0/0 | ShSW(F07)-CAM-04 | Cat 6 | 30 | 3 | 33
Shops_Sw - F0/8 | Camera_5 - Fa0/0 | ShSW(F08)-CAM-05 | Cat 6 | 45 | 4.5 | 49.5
Shops_Sw - F0/9 | Camera_6 - Fa0/0 | ShSW(F09)-CAM-06 | Cat 6 | 35 | 3.5 | 38.5
Shops_Sw - F0/10 | Camera_7 - Fa0/0 | ShSW(F10)-CAM-07 | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw - F0/11 | Camera_8 - Fa0/0 | ShSW(F11)-CAM-08 | Cat 6 | 35 | 3.5 | 38.5
Shops_Sw - F0/12 | Camera_9 - Fa0/0 | ShSW(F12)-CAM-09 | Cat 6 | 55 | 5.5 | 60.5
Shops_Sw - F0/13 | Camera_10 - Fa0/0 | ShSW(F13)-CAM-10 | Cat 6 | 50 | 5 | 55
Shops_Sw - F0/14 | Camera_11 - Fa0/0 | ShSW(F14)-CAM-11 | Cat 6 | 55 | 5.5 | 60.5
Shops_Sw - F0/15 | Camera_12- Fa0/0 | ShSW(F15)-CAM-12 | Cat 6 | 60 | 6 | 66
Shops_Sw - F0/16 | Camera_13 - Fa0/0 | ShSW(F16)-CAM-13 | Cat 6 | 80 | 8 | 88
Shops_Sw - F0/17 | Camera_14 - Fa0/0 | ShSW(F17)-CAM-13 | Cat 6 | 83 | 8.3 | 91.3
Shops_Sw - F0/18 | Camera_15 - Fa0/0 | ShSW(F18)-CAM-15 | Cat 6 | 80 | 8 | 88
Shops_Sw - F0/19 | AccessPoint-PT - Fa0/0 | ShSW(F19)-APT-00 | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw - F0/20 | Biometric Scanner 5 - Fa0/0 | ShSW(F20)-BIO-05 | Cat 6 | 80 | 8 | 88
[5 empty] | Total: | 1416.8

## Internet Cafe
INTERNET CAFE ROOM
| Room Measurements: | [5 empty] | Cable's Extended percentage | 10%
| Length : |  |  | 35m
| Width: |  |  | 20m
Cable Color | Used For | Cable Type | Length(m)
Blue | Internet Cafe_Swto MLS-1&2 | Cat 6 | 126.5
Red | Internet Cafe_Swto PC's | Cat 6 | 563.2
Grey | Internet Cafe_Swto AccessPoint-PT | Cat 6 | 5.5
Yellow | Internet Cafe_Swto Biometric Scanner | Cat 6 | 66
Green | Internet Cafe_Swto Cams | Cat 6 | 110
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Type | Length of the cable(m) | 10%(Cable) | Total Cable
Internet Cafe_Sw- G0/1 | MLS 1 - F0/5 | ICSw(G01)-MLS1-F05 | Cat 6 | 35 | 3.5 | 38.5
Internet Cafe_Sw- G0/2 | MLS 2 - F0/5 | ICSw(G02)-MLS2-F05 | Cat 6 | 80 | 8 | 88
Internet Cafe_Sw- Fa0/1 | PC(A) - Fa 0/0 | ICSw(F01)-PC-A | Cat 6 | 30 | 3 | 33
Internet Cafe_Sw- Fa0/2 | PC(B) - Fa 0/0 | ICSw(F02)-PC-B | Cat 6 | 33 | 3.3 | 36.3
Internet Cafe_Sw- Fa0/3 | PC(C) - Fa 0/0 | ICSw(F03)-PC-C | Cat 6 | 36 | 3.6 | 39.6
Internet Cafe_Sw- Fa0/4 | PC(D) - Fa 0/0 | ICSw(F04)-PC-D | Cat 6 | 44 | 4.4 | 48.4
Internet Cafe_Sw- Fa0/5 | PC(E) - Fa 0/0 | ICSw(F05)-PC-E | Cat 6 | 49 | 4.9 | 53.9
Internet Cafe_Sw- Fa0/6 | PC(F) - Fa 0/0 | ICSw(F06)-PC-F | Cat 6 | 54 | 5.4 | 59.4
Internet Cafe_Sw- Fa0/7 | PC(G) - Fa 0/0 | ICSw(F07)-PC-G | Cat 6 | 59 | 5.9 | 64.9
Internet Cafe_Sw- Fa0/8 | PC(H) - Fa 0/0 | ICSw(F08)-PC-H | Cat 6 | 64 | 6.4 | 70.4
Internet Cafe_Sw- Fa0/9 | PC(I) - Fa 0/0 | ICSw(F09)-PC-I | Cat 6 | 69 | 6.9 | 75.9
Internet Cafe_Sw- Fa0/10 | PC(J) - Fa 0/0 | ICSw(F10)-PC-J | Cat 6 | 74 | 7.4 | 81.4
Internet Cafe_Sw- Fa0/11 | Camera_1 - Fa0/0 | ICSw(F11)-CAM-01 | Cat 6 | 40 | 4 | 44
Internet Cafe_Sw- Fa0/12 | Camera_2 - Fa0/0 | ICSw(F12)-CAM-02 | Cat 6 | 60 | 6 | 66
Internet Cafe_Sw- Fa0/13 | AccesPoint PT - Fa0/0 | ICSw(F13)-APT-02 | Cat 6 | 5 | 0.5 | 5.5
Internet Cafe_Sw- Fa0/14 | Biometric Scanner 6 - Fa0/0 | ICSw(F14)-BIO-06 | Cat 6 | 60 | 6 | 66
[5 empty] | Total | 871.2

## Shops
SHOPS
Room Measurements:
| Length : |  |  | 15m
| Width: |  |  | 15m
Cable Color | Used For | Cable Type | Length(m)
Blue | Shops_Swto MLS-1&2 | Cat 6 | 154
Red | Shops_Swto PC's | Cat 6 | 623.7 |  |  |  | Cable's Extended percentage | 10%
Grey | Shops_Swto Kiosk | Cat 6 | 82.5
Green | Shops_Swto Cams | Cat 6 | 1392.5
Cable Startpoint | Cable Endpoint | Cable Tag: | Cable Type | Length of the cable(m) | Length(10%) | Total Cable
Shops_Sw- G0/1 | MLS 1 - G0/9 | Sh(Sw)(G01)-MLS1-G09 | Cat 6 | 50 | 5 | 55
Shops_Sw- G0/2 | MLS 2 - G0/9 | Sh(Sw)(G02)-MLS2-G09 | Cat 6 | 90 | 9 | 99
Shops_Sw- Fa0/1 | PC(A) - Fa 0/0 | Sh(Sw)(F01)-S1(PC-A) | Cat 6 | 90 | 9 | 99
Shops_Sw- Fa0/2 | Camera_1 - Fa0/0 | Sh(Sw)(F02)-S1(CAM-01) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/3 | Camera_2 - Fa0/0 | Sh(Sw)(F03)-S1(CAM-02) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/4 | PC(B) - Fa 0/1 | Sh(Sw)(F04)-S2(PC-B) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/5 | Camera_1 - Fa0/1 | Sh(Sw)(F05)-S2(CAM-01) | Cat 6 | 85 | 8.5 | 93.5
Shops_Sw- Fa0/6 | Camera_2 - Fa0/1 | Sh(Sw)(F06)-S2(CAM-02) | Cat 6 | 65 | 6.5 | 71.5
Shops_Sw- Fa0/7 | PC(C) - Fa 0/1 | Sh(Sw)(F07)-S3(PC-C) | Cat 6 | 85 | 8.5 | 93.5
Shops_Sw- Fa0/8 | Camera_1 - Fa0/1 | Sh(Sw)(F08)-S3(CAM-01) | Cat 6 | 85 | 8.5 | 93.5
Shops_Sw- Fa0/9 | Camera_2 - Fa0/1 | Sh(Sw)(F09)-S3(CAM-02) | Cat 6 | 100 | 0 | 100
Shops_Sw- Fa0/10 | PC(D) - Fa 0/1 | Sh(Sw)(F10)-S4(PC-D) | Cat 6 | 25 | 2.5 | 27.5
Shops_Sw- Fa0/11 | Camera_1 - Fa0/1 | Sh(Sw)(F11)-S4(CAM-01) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/12 | Camera_2 - Fa0/1 | Sh(Sw)(F12)-S4(CAM-02) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/13 | PC(E) - Fa 0/0 | Sh(Sw)(F13)-S5(PC-E) | Cat 6 | 25 | 2.5 | 27.5
Shops_Sw- Fa0/14 | Camera_1 - Fa0/0 | Sh(Sw)(F14)-S5(CAM-01) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/15 | Camera_2 - Fa0/0 | Sh(Sw)(F15)-S5(CAM-02) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/16 | PC(F) - Fa 0/0 | Sh(Sw)(F16)-S6(PC-F) | Cat 6 | 25 | 2.5 | 27.5
Shops_Sw- Fa0/17 | Camera_1 - Fa0/0 | Sh(Sw)(F17)-S6(CAM-01) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/18 | Camera_2 - Fa0/0 | Sh(Sw)(F18)-S6(CAM-02) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/19 | PC(G) - Fa 0/0 | Sh(Sw)(F19)-S7(PC-G) | Cat 6 | 25 | 2.5 | 27.5
Shops_Sw- Fa0/20 | Camera_1 - Fa0/0 | Sh(Sw)(F20)-S7(CAM-01) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/21 | Camera_2 - Fa0/0 | Sh(Sw)(F21)-S7(CAM-02) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/22 | PC(H) - Fa 0/0 | Sh(Sw)(F22)-S8(PC-H) | Cat 6 | 72.5 | 7.25 | 79.75
Shops_Sw- Fa0/23 | Camera_1 - Fa0/0 | Sh(Sw)(F23)-S8(CAM-01) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/24 | Camera_2 - Fa0/0 | Sh(Sw)(F24)-S8(CAM-02) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/25 | PC(I) - Fa 0/0 | Sh(Sw)(F25)-S9(PC-I) | Cat 6 | 62 | 6.2 | 68.2
Shops_Sw- Fa0/26 | Camera_1 - Fa0/0 | Sh(Sw)(F26)-S9(CAM-01) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/27 | Camera_2 - Fa0/0 | Sh(Sw)(F27)-S9(CAM-02) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/28 | PC(J) - Fa 0/0 | Sh(Sw)(F28)-S10(PC-J) | Cat 6 | 77.5 | 7.75 | 85.25
Shops_Sw- Fa0/29 | Camera_1 - Fa0/0 | Sh(Sw)(F29)-S10(CAM-01) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/30 | Camera_2 - Fa0/0 | Sh(Sw)(F30)-S10(CAM-02) | Cat 6 | 80 | 8 | 88
Shops_Sw- Fa0/31 | Camera_1 - Fa0/0 | Sh(Sw)(F31)-OUT(CAM-01) | Cat 6 | 75 | 7.5 | 82.5
Shops_Sw- Fa0/32 | Camera_2 - Fa0/0 | Sh(Sw)(F32)-OUT(CAM-02) | Cat 6 | 75 | 7.5 | 82.5
Shops_Sw- Fa0/33 | Camera_3 - Fa0/0 | Sh(Sw)(F33)-OUT(CAM-03) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/34 | Camera_4 - Fa0/0 | Sh(Sw)(F34)-OUT(CAM-04) | Cat 6 | 10 | 1 | 11
Shops_Sw- Fa0/35 | Camera_5 - Fa0/0 | Sh(Sw)(F35)-OUT(CAM-05) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/36 | Camera_6 - Fa0/0 | Sh(Sw)(F36)-OUT(CAM-06) | Cat 6 | 15 | 1.5 | 16.5
Shops_Sw- Fa0/37 | Kiosk_4 - Fa0/0 | Sh(Sw)(F37)-KIOK-04 | Cat 6 | 75 | 7.5 | 82.5
Shops_Sw- Fa0/38 | AccesPoint PT - Fa0/0 | Sh(Sw)(F38)-APT-00 | Cat 6 | 35 | 3.5 | 38.5
[5 empty] | Total Cable | 2291.2

## Depot
DEPOT
Room Measurements:
| Length : |  |  | 60m |  |  | Cable's Extended percentage | 10%
| Width: |  |  | 15m
Cable Color | Used For | Cable Type | Length(m)
Blue | Depot_Sw to MLS-1&2 | Fibre | 517
Purple | Depot_Sw to Depot-Server | Cat 6 | 236.5
Red | Depot_Sw to Monitors/PC's | Cat 6 | 27.5
Grey | Depot_Sw to IP Phone | Cat 6 | 22
Yellow | Depot_Sw to AccesPoint-PT 3 | Cat 6 | 27.5
Green | Depot_Sw to Cams | Cat 6 | 165
Cable Startpoint | Cable Endpoint | Cable Tag | Cable Type | Length of the cable(m) | 10%(Cable) | Total Cable(m)
Depot_Sw - G0/0 | MLS 1 - G0/10 | DP(G00)-MLS1-G10 | Fibre | 215 | 21.5 | 236.5
Depot_Sw - G0/1 | MLS 2 - G0/10 | DP(G01)-MLS2-G10 | Fibre | 255 | 25.5 | 280.5
MLS1 - F0/14 | Depot Server - F0 | MLS1-(F0/14)-DS-F0 | Fibre | 215 | 21.5 | 236.5
MLS2 - F0/13 | Depot Server - F1 | MLS2-(F0/13)-DS-F1 | Fibre | 255 | 25.5 | 280.5
Depot_Sw - Fa0/2 | IP Phone - Fa0/0 | DP(F02)-IP-03 | Cat 6 | 20 | 2 | 22
Depot_Sw - Fa0/3 | PC(A) - Fa 0/0 | DP(F03)-PC-A | Cat 6 | 25 | 2.5 | 27.5
Depot_Sw - Fa0/4 | Camera_1 - Fa0/0 | DP(F04)-CAM-01 | Cat 6 | 10 | 1 | 11
Depot_Sw - Fa0/5 | Camera_2 - Fa0/1 | DP(F05)-CAM-02 | Cat 6 | 25 | 2.5 | 27.5
Depot_Sw - Fa0/6 | Camera_3- Fa0/2 | DP(F06)-CAM-03 | Cat 6 | 50 | 5 | 55
Depot_Sw - Fa0/7 | Camera_4- Fa0/3 | DP(F07)-CAM-04 | Cat 6 | 65 | 6.5 | 71.5
Depot_Sw - Fa0/8 | AccesPoint PT - Fa0/4 | DP(F08)-APT-03 | Cat 6 | 25 | 2.5 | 27.5
[5 empty] | Total: | 759

## Total Cables
Total Cables
Cable | Total(m)
Blue (Cat 6) | 1186.9
Yellow (Cat 6) | 303.6
Red (Cat 6) | 1829.3
Grey (Cat 6) | 196.9
Green (Cat 6) | 2892.9
Purple (Cat 6) | 236.5
Fibre | 517